## Sheet1
Project Number: 123 |  | Project Name: EXAMPLE BUILDING
Graphic Logic Location |  | Point Name Mnemonic |  | Point | Hardware Point |  |  |  | Virtual | Notes See Page # Note
| Point Description | System | Point | Type | DO | DI | AO | AI | Point | Comments | #
1 | Chiller Control | CLG1 | ENBL | CR1 | 1
2 | Chiller Status | CLG1 | S | CRS |  | 1
3 | Chiller Program | CLG1 | PG | PG |  |  |  |  | 1
4 | Chiller Run Hours | CLG1 | TZ | TZ |  |  |  |  | 1
5 | Chiller Reset | CLG1 | CR | DDC |  |  | 1
| Chiller Controller | CLG1 | CO | CO |  |  |  |  | 1 | use RWT:RWT_SP
6 | Chiller Trendlog | CLG1 | TL | TL |  |  |  |  | 1 | CR,SWT,RWT,ENBL
7 | Chilled Water Pump | CLG1 | P1 | CR1 | 1
8 | Chilled Water Pump Status | CLG1 | P1_S | CRS |  | 1
9 | Chilled Water Pump Amps | CLG1 | P1_AMP | CS1 |  |  |  | 1
10 | Supply Water Temperature | CLG1 | SWT | PTS1 |  |  |  | 1
11 | Return Water Temperature | CLG1 | RWT | PTS1 |  |  |  | 1
12 | Return Water Setpoint | CLG1 | RWT_SP | V |  |  |  |  | 1
[5 empty] | 2 | 2 | 1 | 3 | 5
EXAMPLE