## Sheet1
Project Number: 123 |  | Project Name: EXAMPLE BUILDING
Graphic Logic Location |  | Point Name Mnemonic |  | Point | Hardware Point |  |  |  | Virtual | Notes See Page # Note
| Point Description | System | Point | Type | DO | DI | AO | AI | Point | Comments | #
97 | Outside Air Temp Program |  | OAT_PG | PG |  |  |  |  | 1 | OAT=MIN(OAS...)
98 | Outside Air Temp Trendlog |  | OAT_TL | TL |  |  |  |  | 1 | OAT,OAS1,OAS2
99 | Outside Air Temperature |  | OAT | V |  |  |  |  | 1
1 | Outside Air Temp Upper |  | OAS1 | OTS |  |  |  | 1
2 | Outside Air Temp Lower |  | OAS2 | OTS |  |  |  | 1
3 | Exhaust Fan 1 Control |  | EF1 | CR1 | 1
4 | Exhaust Fan 1 Run Hours |  | EF1_TZ | TZ |  |  |  |  | 1
5 | Exhaust Fan 1 Program |  | EF1_PG | PG |  |  |  |  | 1
6 | Exhaust Fan 2 Control |  | EF2 | CR1 | 1
7 | Exhaust Fan 2 Run Hours |  | EF2_TZ | TZ |  |  |  |  | 1
8 | Exhaust Fan 2 Program |  | EF2_PG | PG |  |  |  |  | 1
9 | Sump Pump Alarm |  | SUMP | CRS1 |  | 1 |  |  |  | Set up alarm point
[5 empty] | 2 | 1 | 0 | 2 | 7
EXAMPLE