## Sheet1
Project Number: |  | Project Name:
Graphic Logic Location |  | Point Name Mnemonic |  | Point | Hardware Point |  |  |  | Virtual | Notes See Page # Note
| Point Description | System | Point | Type | DO | DI | AO | AI | Point | Comments | #
1 | Hot Water Supply Temp |  | SWT | PTS1 |  |  |  | 1
2 | Return Water Supply Temp |  | RWT | PTS1 |  |  |  | 1
3.1 | Heating Pump 1 Control |  | P1 | CR1 | 1
3.2 | Heating Pump 1 Run Hours |  | P1_TZ | TZ |  |  |  |  | 1 | use P1
3.3 | Heating Pump 1 Amps |  | P1_AMP | CS1 |  |  |  | 1
| Heating Pump 1 Status |  | P1_S | V |  |  |  |  | 1
4.1 | Heating Pump 2 Control |  | P2 | CR1 | 1
4.2 | Heating Pump 2 Run Hours |  | P2_TZ | TZ |  |  |  |  | 1 | use P2
4.3 | Heating Pump 2 Amps |  | P2_AMP | CS1 |  |  |  | 1 | 1
| Heating Pump 2 Status |  | P2_S | V |  |  |  |  | 1
5 | Heating Pump Program |  | P_PG | PG |  |  |  |  | 1
6 | Heating Pump Trendlog |  | P_TL | TL |  |  |  |  | 1 | P1_AMP,P2_AMP,P1,P2
7 | Supply Water Control Valve |  | SWT_V | __ | 1
| Supply Water Valve Controller |  | SWT_V_CO | CO |  |  |  |  | 1 | use SWT:SWT_SP
8 | Supply Water Valve Program |  | SWT_V_PG | PG |  |  |  |  | 1
9 | Supply Water Valve Trendlog |  | SWT_V_TL | TL |  |  |  |  | 1 | SWT,SWT_SP,SWT_V,RWT
| Total |  |  |  | 3 | 0 | 0 | 4 | 10