## Sheet1
Project Number: 123 |  | Project Name: EXAMPLE BUILDING
Graphic Logic Location |  | Point Name Mnemonic |  | Point | Hardware Point |  |  |  | Virtual | Notes See Page # Note
| Point Description | System | Point | Type | DO | DI | AO | AI | Point | Comments | #
1 | Boiler Gas Valve | HTG1 | BLR_GV | CR1 | 1
2 | Boiler Control Program | HTG1 | BLR_PG | PG |  |  |  |  | 1
3 | Boiler Run Hours | HTG1 | BLR_TZ | TZ |  |  |  |  | 1
4 | Supply Water Temperature | HTG1 | SWT | PTS1 |  |  |  | 1
5 | Return Water Temperature | HTG1 | RWT | PTS1 |  |  |  | 1
6 | Supply Water Setpoint | HTG1 | SWT_SP | V |  |  |  |  | 1
7 | Supply Water Program | HTG1 | SWT_PG | PG |  |  |  |  | 1
8 | Heating System Trendlog | HTG1 | TL | TL |  |  |  |  | 1 | SWT,SWT_SP,RWT,OAT
9 | Heating Pump Control | HTG1 | P1 | CR1 | 1
10 | Heating Pump Amps | HTG1 | P1_AMP | CS1 |  |  |  | 1
11 | Heating Pump Status | HTG1 | P1_S | V |  |  |  |  | 1
12 | Heating Pump Program | HTG1 | P1_PG | PG |  |  |  |  | 1
13 | Heating Pump Run Hours | HTG1 | P1_TZ | TZ |  |  |  |  | 1
[5 empty] | 2 | 0 | 0 | 3 | 8
EXAMPLE